# Objectives

## Site access controls including key card access systems, biometrics, video surveillance, fences and walls, notices, and exterior lighting

## Secure siting: identifying and avoiding threats and risks associated with a building site

## Equipment protection from theft and damage

## Environmental controls including HVAC and backup power

Site Access Security

# Site Access Controls

## Purpose

### To restrict the movement of people, so only authorized personnel enter secure areas

### To record movements of people

## Defense in Depth

### Layers

# Categories of Controls

## Detective

## Deterrent

## Preventive

## Corrective

## Recovery

## Compensating

### See chapter 2

# Key Card System

# Site Access Controls

## Key cards

### Centralized access control consists of card readers, central computer, and electronic door latches

### Pros: easy to use, provides an audit record, easy to change access permissions

### Cons: can be used by others if lost, people may "tailgate"

### Better if combined with a PIN

# Biometric Access Controls

## Based upon a specific biometric measurement

## Greater confidence of claimed identity

### Fingerprint, iris scan, retina scan, hand scan, voice, facial recognition, others

## More costly than key card alone

# Metal Keys

## Pros: suitable backup when a key card system fails

## Uses in limited areas such as cabinets

### Best to use within keycard access areas

## Cons

### Easily copied, cannot tell who used a key to enter, many locks can be opened with bump keys

# Man Trap

## Double doors, where only one can be opened at a time

## Used to control personnel access

## Manually operated or automatic

## Only room for one person

# Guards

## Trained personnel with a variety of duties:

### Checking employee identification, handling visitors, checking parcels and incoming/outgoing equipment, manage deliveries, apprehend suspicious persons, call additional security personnel or law enforcement, assist persons as needed

### Advantages: flexible, employ judgment, mobile

# Guard Dogs

## Serve as detective, preventive, and deterrent controls

## Apprehend suspects

## Detect substances

# Access Logs

## Record of events

### Personnel entrance and exit

### Visitors

### Vehicles

### Packages

### Equipment moved in or out

# Fences and Walls

| Effective preventive and deterrent control ## Height | ## Effectiveness |
| --- | --- |
| ## 3-4 ft | ## Deters casual trespassers |
| ## 6-7 ft | ## Too difficult to climb easily |
| ## 8 ft plus 3 strands of barbed or razor wire | ## Deters determined trespassers |

## Keep unwanted persons from accessing specific areas

## Better when used with motion detectors, alarms, and/or surveillance cameras

# Video Surveillance

## Supplements security guards

## Provide points of view not easily achieved with guards

## Locations

### Entrances

### Exits

### Loading bays

### Stairwells

### Refuse collection areas

## Camera types

### CCTV, IP wired, IP wireless

### Night vision

### Fixed, Pan / tilt / zoom

### Hidden / disguised

## Recording capabilities

### None; motion-activated; periodic still images; continuous

# Intrusion, Motion, and Alarm Systems

## Automatic detection of intruders

## Central controller and remote sensors

### Door and window sensors

### Motion sensors

### Glass break sensors

## Alarming and alerting

### Audible alarms

### Alert to central monitoring center or law enforcement

# Visible Notices

## No Trespassing signs

## Surveillance notices

### Sometimes required by law

## Surveillance monitors

## These are deterrent controls

# Exterior Lighting

## Discourage intruders during nighttime hours, by lighting intruders’ actions so that others will call authorities

## NIST standards require 2 foot-candles of power to a height of 8 ft

## This is a deterrent control

# Other Physical Controls

## Bollards

## Crash gates

### Prevent vehicle entry

### Retractable

## Some are so strong they can stop a truck at 50 mph

### Link Ch 8b

Secure Siting

# Secure Siting

## Locating a business at a site that is reasonably free from hazards that could threaten ongoing operations

## Identify threats

### Natural: flooding, landslides, earthquakes, volcanoes, waves, high tides, severe weather

### Man-made: chemical spills, transportation accidents, utilities, military base, social unrest

## Other siting factors

### Building construction techniques and materials

### Building marking

### Loading and unloading areas

### Shared-tenant facilities

### Nearby neighbors

Protection of Equipment

# Asset Protection

## Laptop computers

### Anti-theft cables

### Defensive software (firewalls, anti-virus, location tracking, destruct-if-stolen)

### Strong authentication such as fingerprint

### Full encryption

### Training

## Servers and backup media

### Keep behind locked doors

### Locking cabinets

### Video surveillance

### Off-site storage for backup media

#### Secure transportation

#### Secure storage

## Protection of sensitive documents

### Locked rooms

### Locking, fire-resistant cabinets

### “Clean desk” policy

#### Reduced chance that a passer-by will see and remove a document containing sensitive information

### Secure destruction of unneeded documents

## Equipment check-in / check-out

### Keep records of company owned equipment that leaves business premises

### Improves accountability

### Recovery of assets upon termination of employment

## Damage protection

### Earthquake bracing

#### Required in some locales

#### Equipment racks, storage racks, cabinets

### Water detection and drainage

#### Alarms

## Fire protection

### Fire detection: smoke alarms, pull stations

### Fire extinguishment

#### Fire sprinklers

#### Inert gas systems

#### Fire extinguishers

# Sprinkler Systems

## Wet pipe - filled with pressurized water

## Dry pipe - fills with water only when activated

## Deluge - discharges water from all sprinklers when activated

## Pre-Action - Dry pipe that converts to a wet pipe when an alarms is activated

## Foam water sprinkler - Uses water and fire-retardant foam

## Gaseous fire suppression - displaces oxygen

## Cabling security – on-premises

### Place cabling in conduits or away from exposed areas

## Cabling security – off-premises (e.g. telco)

### Select a different carrier

### Utilize diverse / redundant network routing

### Utilize encryption

Environmental Controls

# Environmental Controls

## Heating, ventilation, and air conditioning (HVAC)

### Vital, yet relatively fragile

### Backup units (“N+1”) recommended

### Ratings

#### BTU/hr

#### Tons (link Ch 8c)

### Also regulates humidity

#### Should be 30% - 50%

## Electric power

## Anomalies

### Blackout.  A total loss of power.

### Brownout.  A prolonged reduction in voltage below the normal minimum specification.

### Dropout.  A total loss of power for a very short period of time (milliseconds to a few seconds).

### Inrush.  The instantaneous draw of current by a device when it is first switched on.

### Noise.  Random bursts of small changes in voltage.

### Sag.  A short drop in voltage.

### Surge.  A prolonged increase in voltage.

### Transient.  A brief oscillation in voltage.

## Electric power protection

### Line conditioner – filters incoming power to make it cleaner and free of most anomalies

### Uninterruptible Power Supply (UPS) – temporary supply of electric power via battery storage

### Electric generator – long term supply of electric power via diesel (or other source) powered generator

# Redundant Controls

## Assured availability of critical environmental controls

### Dual electric power feeds

### Redundant generators

### Redundant UPS

### Redundant HVAC

### Redundant data communications feeds

### Last modified 4-14-10