# Topics

## Physical security threats

## Site and facility design

## Physical (environmental) security controls

Physical Security Threats

# Fire

## Saving lives is the top priority

## Fire needs 3 elements

# Classes of Fires

## A	Paper, wood, etc.

### Extinguish with water or soda acid

## B	Gas or oil

### Extinguish with CO2, soda acid, or Halon

## C	Electrical

### Extinguish with CO2 or Halon (power off first)

## D	Flammable metals like sodium

### Extinguish with dry powder

## NOTE: Book is wrong about class D

# Water, Earthquakes, Weather

## Water

### Water can harm computers

### Can electrocute people

## Earthquakes

### Buildings may collapse or become unsafe

## Severe weather

### Hurricanes, storms

### May cause fires, wter damage, flooding, loss of communication and utilities

# Electricity

## Electrostatic discharge (ESD)

### When humidity is low

### Humidity should be 40% - 60% in computer rooms

## Electrical noise

### Electromagnetic Interference (EMI) and Radio Frequency Interference (RFI)

### Fluorescent lights cause EFI

# Electrical Anomalies

# Lightning and Sabotage

## Lightning

## Sabotage/terrorism/war/theft/vandalism

### Increase security during labor disputes or other risky times (Link Ch 13a)

# Failures, Outages, Personnel Loss

## Equipment failure

### Maintenance agreements, spare parts, and redundant systems help mitigate this risk

## Loss of communications and utilities

### Due to disaster or human error

## Personnel loss

### Through illness, death, resignations, …

### Can be mitigated through documented procedures, job rotation, cross-training, and redundant functions

Site and Facility Design

# Crime Prevention Through Environmental Design (CPTED)

### Unobstructed areas

### Creative lighting

### Functional landscaping

## Make it difficult for a criminal to

### Hide, gain access, escape, etc.

## Three basic strategies

### Natural Access Control

### Natural Surveillance

### Territorial Reinforcement

# Natural Access Control

## Restrict movement

## Differentiate between public, semi-private, and private areas

## Target hardening

### Window and door locks

### Alarms

### Photo ID requirements

### Sign in/sign out procedures

# Natural Surveillance

## Make intruder activity more observable and easily detected

### Windows overlook streets and parking areas

### Landscape to eliminate hidden areas

### Open railings on stairs

### Numerous low-intensity lighting fixtures to eliminate shadows and reduce blind spots

# Territorial Reinforcement

## Create a sense of pride and ownership

### Maintenance: pick up trash, fix broken bulbs, …

### Assign responsibility to individuals

### Add amenities like benches, water fountains

# Choosing a Secure Location

## Climate and natural disasters

## Local neighborhood

### Crime rate, nearby airports, railways, …

## Visibility

### A low profile without external markings is best

## Accessibility

### Transit, emergency vehicles, nearby housing

## Utilities

## Joint tenants

## Link Ch 13c

# Designing a Secure Facility

## Exterior walls

### Reduce electronic emanations

### Windows should be barred & not open

## Interior walls

### Extend from floor to ceiling

### Fire ratings if adjacent to storage areas

# Doors

## Strong to resist forcible entry

## Need fire rating equal to adjacent walls

## Emergency exits

### Labeled

### Unlocked from inside

### Fail open during emergency

## Hinges on outside must be secured

# Plenums

## Wiring

### Fire codes require plenum rating for wiring in air-handling region between above drop ceiling

### Burning cables may release toxic gases

Physical (Environmental) Security Controls

# Physical Access Control

## Fences

## Security Guards

## Dogs

## Locks

## Storage areas

## Security badges

## Biometric access controls

# Fences

# Mantraps

## Double door

## Unauthorized people end up trapped between the doors

## Image from link Ch 13d

# Security Guards

## Guards cannot be replaced by technology because they have

### Discernment

### Visibility

### Multiple functions

## Disadvantages of guards

### Unpredictability

### Imperfections

### Cost

# Dogs

## Highly visible deterrent, response, and control

## More loyal and reliable than humans

## Disadvantages

### Limited judgment

### Cost and maintenance

### Potential liability

# Locks

## Preset

### The most common type

### Requires a particular key to open

## Programmable

### Mechanical (dial combination or five-key pushbutton)

### Electronic (cipher lock or keypad)

### Shoulder surfing attack

## Electronic

### Like modern car locks

# Storage areas

## Should be locked and controlled

## Be aware of hazardous materials and environmental factors

# Security Badges

## Photo ID or “dumb card”

### No technology, must be examined by a guard

## Smart cards

### Integrated chip

### Magnetic stripe

### Optical code

## Proximity card

### Passive

#### No battery or active electronics

#### Just an antenna to reflect power back to reader

### Field-powered

#### Has electronics powered by the reader

### Transponder

#### Has a battery, like a garage door opener

# Biometric access controls

## Finger scan

## Hand geometry

## Retina pattern

## Iris pattern

## Voice recognition

## Signature dynamics

# Biometric access controls

## False Reject Rate (FRR)

## False Accept Rate (FAR)

## Crossover Error Rate (CER)

### The point where FRR=FAR (Image from link Ch 13e)

# Technical Controls

## Surveillance

## Intrusion detection

## Alarms

# Surveillance

## When used to monitor or record live events, they are detective

## If the camera is visible, it’s a deterrent control also

# Intrusion Detection (Physical)

## Photoelectric sensors

### A grid of visible or IR light

## Dry contact switches and metallic tape

### Sound alarm when door is opened or tape is broken

## Motion detectors

### Wave pattern

### Capacitance

### Audio (high false alarm rate)

# Alarms

## Should have separate circuitry and a backup power source

## Line supervision detects attempts to tamper with alarm systems

# Five Types of Alarms

## Local system

### Sounds audible alarm

### Requires local response capability –someone to call the police/fire dept.

## Central station system

### Operated nd monitored by private security organizations

### Connected directly to the protected site via leased or dial-up lines

## Proprietary Systems

### Like central station systems but operated and monitored directly on the premises

## Auxiliary station systems

### Contact police or fire departments directly

### Require prior authorization

### Typically used along with central station systems

## Remote station system

### Calls police or fire and plays a recorded message

# Environmental and Life Safety Controls

## Electrical Power

## HVAC (Heating, Ventilation, and Air Conditioning)

## Fire Detection and Suppression

# Electrical Power

## Physical access controls at electrical distribution panels and circuit breakers

## Emergency Power Off (EPO) switch

### Near major systems and exit doors

# Backup power source

## Diesel or natural-gas generator

### Natural gas cannot be stored locally, so it relies on gas mains

## Only for critical facilities, like emergency lighting, fire detection and suppression, servers, HVAC, physical access control, and telephones

# Controls for Electrostatic Discharge (ESD)

## Maintain humidity at 40% - 60%

## Proper grounding

## Anti-static floors, carpets, floor mats

# Controls for Electrical Noise

## Power line conditioners

## Proper grounding

## Shielded cables

# Controls for Electrical Anomalies

## Uninterruptible Power Supply (UPS)

### Only enough power for 5-30 min.

## Surge protectors provide only minimal protection

## A UPS is much better

# HVAC (Heating, Ventilation, and Air Conditioning)

## Ideal temperature for computers is 50 – 80 degrees F

## Humidity 40% - 60%

## Close doors and side panels on racks

### For both physical security and cooling

## Fill empty spaces in racks with blanking panels

# Fire Detection and Suppression

## Three detection systems

### Heat-sensing

### Flame-sensing

#### Detect flickering IR

### Smoke-sensing

# Smoke-Sensing

## Photoelectric

### Variations in light intensity

## Beam

### Sense when smoke interrupts a beam of light

## Ionization

### A tiny radioactive source ionizes air; smoke ionizes differently

## Aspirating

### Draws air into a sampling chamber to detect smoke

# Fire Suppression Systems

## Two types

### Water sprinkler systems

### Gas discharge systems

# Water Sprinkler Systems

## Wet-pipe (or closed-head)

### Pipes are always full of water

### A fusible link in the nozzle melts or ruptures

### Can flood when nozzles or pipes fail

### Frozen pipes in cold weather may break

## Dry-pipe

### No water in pipes until system is activated

### Less efficient than wet-pipe but lower risk of accidental flooding

## Deluge

### Like a dry-pipe system but delivers a lot of water rapidly

### Not typically used in computer-equipment areas

## Preaction

### Pipes are initially dry

### Heat sensor fills pipes and sounds alarm

### Water isn’t discharged until a fusible link melts

### Recommended for computer-equipment areas

### Reduces risk of accidental discharge

# Gas Discharge Systems

## CO2

### Replaces air, depriving the fire of oxygen

### Best on class B and C fires

### Can be lethal to humans

### Also used in portable extinguishers

## Soda acid

### Most effective against class A and B fires

### Chemicals are corrosive, so not good for class C

## Gas-discharge

### Most effective against class B and C fires

### Inert gases don’t damage computer systems

### Halon used to be the gas of choice

#### Now prohibited to save the ozone

### Modern substitutes: FM-200, CEA-410, CEA-308, NAF-S-III, FE-13, Argon or Argonite, and Inergen

# Administrative Controls

## Restricted areas

### Clearly marked

### Authorized personnel need to be also marked

## Visitors

### Required to present proper ID when entering

### Need visible “Visitor” badges

### Badge should indicate whether escort is required

## Personnel privacy

### Clearly define policies

### Employees should know and consent to network monitoring

## Safety

### Must protect employees at work and when travelling

### When travelling, kidnapping, terrorism, etc. may be a significant risk

## Audit trails and access logs

### Detective controls

## Asset classification and control

### Inventory and label company devices

## Emergency procedures

### Including BRP/DRP

## Housekeeping

### Reduces fire hazards

### Less dust in computer systems

## Pre-employment and post-employment procedures

### Background and reference checks

### Security clearances

### Granting access

### Termination procedures

### Last modified 5-6-13